## Final Edit
Of-Campus Housing Accessibility Survey
Name of Property | The Heights at State College | Parkway Plaza Apartments | The Pointe | The Metropolitan | Blue Course Commons | The Station at State College | Trout Housing | Lion's Gate Apartments
Address | 201 NORTHWICK BLVD | 1000 Plaza Drive | 501 Vairo Blvd | 412 W College Ave | 446 Blue Course Drive | 801 Toftrees Avenue State College, PA 16803 | 136 Wood Alley | 424 Waupelani Drive
Phone Number | 8148617100 | 814-238-3432 | 814-231-6900 | 8143088582 | 8142351377 | 814-325-9430 | 8142372573 | 8142382600
Email | shilton@heightsatstatecollege.com | parkwayplaza@achliving.com | salesstatecollege@edrtrust.com | info@themetstatecollege.com | statecollege@collegetowncommunities.com | info@thestationstatecollege.com | trouthousing@gmail.com | lionsgateapts@lionsgateapts.com
Website | http://www.heightsatstatecollege.com | liveparkwayplaza.com | Pointestatecollege.com | www.themetstatecollege.com | www.collegetowncommunities.com | thestationstatecollege.landmark-properties | www.trouthousing.com | lionsgateapts.com
Located on a relatively flat site with paved walkways from parking | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Ground-level units on accessible route | Yes | Yes | Yes | No | Yes | Yes | Yes | No
Ground-level entrance | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No
One- to two-step entrance | No | Yes | Yes | Yes | Yes | Yes | _ | Yes
Ramp entrance | No | No | Yes | Yes | Yes | No | _ | No
Doorways 32" width | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Thresholds ½" high | Yes | Not Verified | Yes | Yes | Yes | Yes | No | Yes
Hallways 42" width | Yes | Yes | Not Verified | Yes | _ | Yes | No | Not Verified
Elevator to accessible units | No | Yes | No | Yes | _ | No | No | No
Closets - sliding or bi-folding doors | Yes | Yes | Yes | Yes | Yes | No | No | Not Verified
Clothes Closets - rod within reach (max 54" height) | Yes | Not Verified | No | Yes | _ | Yes | No | Not Verified
Storage Closets - some shelving within 9" - 54" reach range | Yes | Not Verified | Yes | Yes | Yes | Yes | No | Not Verified
Lever type hardware on entrance door | Yes | Not Verified | Yes | Yes | Yes | Yes | No | No
Floor covering is stable, firm, slip-resistant, low-pile carpeting | Yes | Yes | Yes | Yes | _ | Yes | Yes | Yes
Switches/outlets/thermostats/controls within reach range (typically 15" - 48") | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Not Verified
Willing to make minor modifications | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Not Verified
Outward swinging door | No | No | No | Yes | No | Yes | No | _
Lever-handled faucets | Yes | Not Verified | No | Yes | _ | Yes | Yes | _
30" x 48" clear floor space beyond entrance door | Yes | Not Verified | Not Verified | Not Verified | _ | Yes | Yes | _
Mirror bottom 40" max above floor | Yes | Not Verified | Yes | Not Verified | _ | Yes | Not Verified | _
30" x 48" clear floor space at tub/shower | Yes | Not Verified | Yes | Not Verified | _ | Yes | Yes | _
Grab bars | Yes | No | Yes | Yes | Yes | No | Not Verified | _
Handheld shower nozzle | Yes | No | No | Yes | _ | No | Yes | _
Roll-in shower | No | No | No | Not Verified | _ | No | Yes | _
Minimum 40" clearance between opposing sides | Yes | Not Verified | Yes | Not Verified | _ | Yes | Yes | _
30" x 48" clear space at appliances | Yes | Not Verified | Not Verified | Not Verified | _ | Yes | Yes | _
Wall cabinet storage above work surface 48" max height for at least one shelf | Yes | Not Verified | Yes | Yes | _ | Yes | Yes | _
Front mounted range controls | Yes | No | No | Not Verified | Yes | No | No | _
Bottom or side mounted freezer | No | No | No | Not Verified | No | No | No | _
Self-cleaning oven | No | Not Verified | Yes | Not Verified | No | Yes | Yes | _
Washer/Dryer - at least one front loading washer and dryer | Yes | Yes | No | Yes | _ | Yes | No | _
Washer/Dryer - side-by-side or non-stacked | Yes | Yes | Yes | Yes | Yes | Yes | No | _
Washer/Dryer - front mounted controls | Yes | No | No | Yes | _ | Yes | Yes | _
30" x 48" clear space at door/washer/dryer/sink | Yes | Yes | Not Verified | Yes | _ | Yes | No | _
Washer/Dryer - located on accessible route from living unit | Yes | Yes | Yes | Yes | _ | Yes | Yes | _
Audio and visual smoke detectors | Yes | Not Verified | Yes | Yes | _ | Yes | Yes | _
Mailboxes - 30" x 48" clear space | Yes | Yes | Yes | Yes | Yes | Not Verified | Yes | _
Mailboxes - some within 9" - 54" reach range | Yes | Yes | Yes | Yes | _ | Not Verified | Yes | _
Dumpster/Trash Areas - on accessible route from living area | No | Yes | Yes | Yes | Yes | Not Verified | Yes | _
Dumpster/Trash Areas - opening within 9" - 54" reach range | Not Verified | Yes | Yes | Yes | _ | Not Verified | Yes | _
Proxy Cards (property/room) access |  | Not Verified | Yes | Yes | Yes | Not Verified | _ | _
On or near public transportation (4 city blocks or less) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | _
Accept pets | Yes | No | Yes | Yes | No | Yes | No | _
Resident demographics | Students and Non-Students | Students and Non-Students | Students | Students | Students | Students and Non-Students | Students | _
Other accessible features | Handicapped Seat in Shower - Bathroom | _ | Will accommodate with handicap parking if needed in front of the apartment. Bathrooms are accommodating for wheelchairs but has a standard tub and shower. | _ | _ | Elevator available in clubhouse. Accessible shower with modifications located in clubhouse. | Bathroom is ADA with open sink, seat in shower, and adjustable showerhead. | _
Comments | _ | _ | will make minor changes to help accommodate. | _ | Most units on site are two-story townhouses; however, the two accessible units are single-story units. | _ | _ | Usually 5-7 stairs down to ground level apartments for 5-7 stairs up to 2nd floor units. Some units have walk in showers *not big enough to roll in*. Minor adjustments (hand bar etc) may be able to put in.
End of Table